Lab Quality Procedure

Standard Operating Procedure (SOP)

| Title | Lab Quality Procedure |
| --- | --- |
| SOP Number | SKN-OPS-006 |
| Effective Date | May 8, 2026 |
| Revision Number | 1.0 |
| Prepared by | Alvin Belt |
| Approved by | Alvin Belt |

1. Purpose

•  Establish a consistent approach for receiving, classifying, escalating, and resolving lab and supplier quality signals at Sweet July Beauty, LLC, including OOS and OOT results, incoming material defects, and vendor patterns.

•  Ensure every lab finding generates a defensible audit trail from intake through closeout, and that vendor performance signals reach Purchasing on a single, predictable channel.

2. Scope

•  Applies to all lab-driven, supplier-driven, and material-driven quality signals at Sweet July Beauty, LLC affecting:

o  Finished good lab results (PET, accelerated stability, real-time stability, microbial, chemistry retest)

o  Component or raw material incoming inspection results (COA review, visual, functional)

o  Vendor systemic quality patterns across batches, time, or SKUs

•  Does not apply to: customer complaints (Customer Complaint Handling SOP, SKN-OPS-004), pre-launch stability before in-market transition, batch hold and release decisions, or the CAPA itself once a lab finding escalates (SKN-OPS-001).

3. Definitions

•  Lab Finding (LF): A documented record of a lab-driven, supplier-driven, or material-driven quality signal opened under this procedure. Numbered LF-YYYY-NNN.

•  Out of Spec (OOS): A lab result outside the documented spec range for the batch's tested attribute.

•  Out of Trend (OOT): A lab result within spec but materially different from prior batches or trending toward a limit.

•  Incoming Defect: A vendor receipt failing inspection — wrong material, missing or expired COA, COA values outside spec, or packaging damage that affects the material.

•  Pattern: A multi-event finding identified across recent LFs by vendor, SKU, spec, or time window.

•  Vendor Flag: A QA-Lead-approved escalation that a vendor pattern warrants a scorecard signal or CAPA opening.

•  Watch List: A pattern identified but not yet meeting flag threshold; tracked for additional cycles before re-review.

•  Containment: Action taken at intake to prevent further impact — hold, quarantine, retest only, or no action.

•  Retest: A repeat of a failed or trending lab test on a fresh sample, conducted under the conditions in §5.3.

4. Responsibilities

•  Reporter: Any employee, contract lab, or vendor who surfaces a lab finding.

•  Operator: Reviews intake, classifies the finding, decides between retest, watch, vendor flag, or CAPA handoff.

•  QA Lead: Technical QA/QC lead. Approves any vendor flag, any scorecard signal write, any retest authority decision, and lab-finding severity overrides.

•  Voice of Customer: Manages quality intake from the customer perspective. Advisor on lab findings tied to customer-driven signal.

•  QA Manager: Owns this SOP. Approves all revisions. Reviews annually.

•  Department Managers: Ensure lab findings within their area are reported, investigated, and resolved.

•  All Employees: Report lab findings and potential lab findings to their supervisor or QA.

5. Procedure

5.1  Intake

•  Opening a Lab Finding:

o  A lab result returns OOS on any spec listed in the batch's PLM record.

o  A lab result returns OOT — within spec but trending toward a limit, or shifting from prior batches.

o  An incoming material inspection fails (wrong material, wrong qty, COA missing or expired, COA values outside spec, packaging damage that affects the material).

o  A retest is requested on a previously OOS or OOT result.

o  A pattern across recent lab findings crosses §5.2 thresholds.

o  The Operator or QA Lead requests one explicitly.

•  Required intake fields — every LF must capture the following before commit:

| Field | Notes |
| --- | --- |
| LF Number | LF-YYYY-NNN, zero-padded sequential by year |
| Date opened | ISO date |
| Reporter | Name and role (or contract lab name) |
| Source | lab-OOS, lab-OOT, vendor-receipt, vendor-systemic, batch-pattern, COA-mismatch, internal-flag, direct-open |
| Classification | OOS, OOT, Incoming Defect, Pattern, In-Spec Flag |
| SKU(s) affected | If applicable |
| Batch / lot code(s) | Required for finished-good results; required for component receipts |
| Vendor | Required for component / vendor-driven findings |
| Spec(s) affected | The internal spec(s) the finding is measured against |
| Result | Measured value(s) and the spec value(s) |
| Description | Plain-language description of what was observed |
| Evidence | Links to test reports, COAs, photos, PLM lab record |
| Suspected severity | Operator's first read; QA Lead can override |
| Containment recommendation | Hold, quarantine, retest, or no action — drafted at intake |

•  Classification — five categories:

o  OOS — outside spec range. Major or Critical severity by default. Always retests or hands off as NCR per SKN-OPS-001.

o  OOT — within spec but trending. Minor by default; can shift to Major if trend points toward near-term spec failure.

o  Incoming Defect — vendor receipt failed inspection. Routes to single-shipment handling or vendor flag depending on pattern.

o  Pattern — multi-event finding from §5.2. Severity reflects worst single event. Routes to vendor flag by default.

o  In-Spec Flag — result is in spec but something else was off (lab process deviation, sample integrity question, late test).

•  Severity bands — three bands, aligned with the NCR Procedure for downstream handoff:

o  Critical — direct safety, recall risk, regulatory exposure, or repeat root cause. Hand off to capa-coordinator within 5 business days. Containment: hold immediately.

o  Major — quality or compliance impact that cannot be absorbed without action. Hand off to capa-coordinator within 10 business days. Containment: hold or quarantine.

o  Minor — isolated, contained, no recurrence pattern, no compliance exposure. Retest, watch list, or close after Operator approval.

o  Severity reads should err high. The cost of an unnecessary CAPA is lower than the cost of a missed one.

5.2  Pattern Analysis and Vendor Flag Thresholds

•  Cadence:

o  Monthly sweep — first business day of each month, pull prior 12 months of LFs and run the threshold check below.

o  On-demand — any operator query for pattern read fires the analysis.

o  Auto-fire on intake — every new LF triggers a quick pattern read against the same vendor / SKU / spec.

•  Threshold check — a pattern crosses the vendor-flag threshold when any of the following is true:

o  Vendor cluster: 3+ LFs on the same vendor within 90 days, regardless of SKU.

o  SKU cluster on a single vendor: 2+ LFs on the same SKU + same vendor within 90 days.

o  Spec cluster: 3+ LFs on the same spec across any vendor or SKU within 60 days.

o  Severity weighted: any 1 Critical or 2 Major LFs on the same vendor in 12 months.

•  Vendor flag review checklist — before drafting any flag decision, the Operator confirms:

o  Is the cluster real, or is it one root cause showing up multiple times in records?

o  Is the issue vendor-attributable, or could it be Sweet July's spec, sampling, or process?

o  Has containment been confirmed for each LF in the cluster?

o  Is there an existing vendor flag or open CAPA already covering this pattern?

o  Has Purchasing seen any related signal already (incoming inspection rejection, shipping issue)?

•  Flag decision branches — three valid endpoints:

o  Flag for vendor scorecard signal — pattern is real, vendor-attributable, and material to the scorecard. Triggers Appendix B comment-back to Purchasing.

o  Flag for CAPA — pattern needs root cause work. Hands off to capa-coordinator with source = vendor-systemic.

o  Watch List — no flag yet. Tracked for 2 additional monthly cycles before re-review.

•  QA Lead approves any A or B at v5.3. Operator can stage; QA Lead sign-off is required before any signal goes to Purchasing.

5.3  Retest Path

•  When classification is OOS or OOT and the Operator decides retest is warranted:

o  Document the retest reason on the LF (sample integrity, suspected lab error, expected drift, vendor request).

o  Pull a fresh sample per the Lab Sample Pulling working note.

o  Send to the same lab or a confirming lab. Capture the lab name and request ID on the LF.

o  When the retest result returns:

o  Retest passes — log result, classify as In-Spec Flag, Operator decides watch or close.

o  Retest fails — original classification stands; severity may shift up; CAPA handoff path engages.

•  Retest is not a workaround. If a retest passes but the Operator suspects sampling or lab variability, the LF stays on the watch list — the pattern check is what converts watch into flag.

5.4  Documentation and Retention

•  Every LF — open, closed, watch-list, or handed off — generates a record retained per SKN-OPS-001 §5.6 retention floor: 3 years post-batch-expiration.

•  Records live in the SJS Quality Management Asana project. Custom fields capture structured intake, classification, severity, source, and decision. Comments capture working notes. Attachments hold evidence (test reports, COAs, photos, PLM lab record links).

•  PLM holds the source-of-truth lab record; the LF Asana task carries the workflow surface and links to the PLM record.

5.5  Service Level Agreements

| Action | SLA |
| --- | --- |
| LF intake review | 2 business days for Critical, 5 for Major, 10 for Minor |
| Retest dispatch (when chosen) | 3 business days for Critical, 7 for Major, 14 for Minor |
| Vendor flag review | 5 business days from pattern surfacing |
| Scorecard signal post | 1 business day from QA Lead approval |
| CAPA handoff | Critical within 5 business days, Major within 10, Minor within 15 |
| Watch List re-review | Monthly sweep |

6. Training

•  Ensure all employees involved in the lab quality process receive appropriate training on this SOP.

•  Document all training records.

7. Review and Approval

•  This SOP should be reviewed annually and updated as necessary.

•  All revisions must be approved by the QA Manager.

8. Appendices

Appendix A — Lab Finding Intake Form

The Lab Finding cover block, captured in the SJS Quality Management Asana task description on every LF:

| Field | Value |
| --- | --- |
| LF Number | LF-YYYY-NNN |
| Date opened | YYYY-MM-DD |
| Reporter | Name + role ¦ Contract lab name |
| Procedure version | SKN-OPS-006 Rev.1 (effective 2026-05-08) |
| Classification | OOS ¦ OOT ¦ Incoming Defect ¦ Pattern ¦ In-Spec Flag |
| Severity | Critical ¦ Major ¦ Minor |
| Source | lab-OOS ¦ lab-OOT ¦ vendor-receipt ¦ vendor-systemic ¦ batch-pattern ¦ COA-mismatch ¦ internal-flag ¦ direct-open |
| Linked Batch | PLM batch ID + link |
| Linked Vendor | Vendor name + Purchasing record link |
| Linked SKU | SKU code + name |
| PLM lab record | Link |
| Spec(s) affected | List |
| Result vs spec | Measured value(s) vs spec value(s) |
| Statement of finding | 1–2 sentences — what was observed, when, on what |
| Containment recommendation | Hold ¦ Quarantine ¦ Retest only ¦ No action |
| Containment rationale | Tied to severity and classification |
| Containment owner | Role + name |

Appendix B — Vendor Scorecard Signal Template

Posted as a comment on the relevant Purchasing record once a vendor flag is QA-Lead-approved. Purchasing owns the scorecard write; this procedure governs the signal format only.

Signal format:

[Vendor Scorecard Signal] from quality-lab-coordinator

LF reference(s): LF-YYYY-NNN, LF-YYYY-NNN, …

Pattern type: Vendor cluster | SKU cluster | Spec cluster | Severity-weighted

Window: 60 / 90 days, or 12 months for severity-weighted

Findings summary:

– LF-YYYY-NNN | YYYY-MM-DD | [SKU] | [batch] | [classification + severity] | [one-line statement]

– LF-YYYY-NNN | …

Proposed scorecard impact:

– Category: Lead time | Fill rate | Defect rate | Documentation reliability | Multiple

– Severity of impact: Note | Caution | Performance review trigger

– Reasoning: 1–2 sentences tying the LFs to the proposed category

Suggested next step for Purchasing: e.g., "Update [vendor] defect rate in Q[X] scorecard."

Containment status: each LF's containment confirmed or closed

No CAPA opened OR CAPA-YYYY-NNN opened/closed

QA Lead approval: role + name | YYYY-MM-DD HH:MM

Lab finding tasks: Asana links to each LF

Severity-of-impact bands — proposed by quality-lab-coordinator, calibrated by Purchasing:

•  Note — single LF or marginal pattern. Logged for next quarterly scorecard refresh.

•  Caution — pattern is real and needs visibility. Surfaces in next monthly scorecard view.

•  Performance review trigger — pattern crosses a scorecard threshold and warrants a vendor conversation per Purchasing's renewal/dispute logic.

Appendix C — Pattern Analysis Thresholds

Reproduces §5.2 thresholds for quick reference.

| Pattern type | Threshold |
| --- | --- |
| Vendor cluster | 3+ LFs on the same vendor within 90 days, regardless of SKU |
| SKU cluster on single vendor | 2+ LFs on the same SKU + same vendor within 90 days |
| Spec cluster | 3+ LFs on the same spec across any vendor or SKU within 60 days |
| Severity weighted | Any 1 Critical or 2 Major LFs on the same vendor in 12 months |

9. Revision History

| Revision | Effective Date | Notes |
| --- | --- | --- |
| 1.0 | 2026-05-08 | Initial ratification. |